# Broadoak Community School Faculty of Science: AQA Double Science Module 10

Electrical Safety			Name _ANSWER SHEET__________

- How does the insulation on wires protect me? __prevents me from touching live wires and getting shocks__________________________________________

- Fuses don't protect people from shocks; they protect things from overloads & fires. 

(a) How do they protect things? melt and cut current if too much flows______
(b) Why don't they protect people? _only takes tiny current to kill. Fuses won’t blow until large current flows________________________________
(c) Why should you check what's wrong before you put a new fuse in? _____________ ____the fuse blew because of a fault, could mean danger to me – so fix the fault.

3. There are 2 types of Circuit Breakers:

(i) "Thermal___", which cut the current if they get too hot, and

(ii) "Electromagnetic" which use an electromagnet_____ to pull the switch and cut 		the current if too much flows.

Explain why circuit breakers are more convenient than fuses: _________________________ __easier to reset, don’t need to find replacement fuse wire in the dark

4. "Residual Current Circuit Breakers" (RCCBs), "Residual Current Devices" (RCDs) and  "Earth Leakage Circuit Breakers" (ELCBs) protect people from shocks. 

They switch off, if the current in the Live wire isn't equal_ to the current in the Neutralwire.
If the currents aren't equal then it means that some current_ is going somewhere else - maybe through me! 
They are very sensitive, and can switch off before I get a lethal shock___.
We should always use them with electric Lawn__ Mowers__ and any other outdoor appliances.

5. Earthing. Electricity is always trying to get to the ground_, and it'll go through me if it can. 
If a machine has a metal__ case, and something goes wrong, the case could become live and give me a shock__. 
The Earth wire connects the case_ to the ground. 
Normally it does nothing, but if there's a fault and the case becomes Live__ then the current can get to earth___ down this wire, instead of through me. 
This will also "blow" the fuse__ and cut off the current. 
Examples: Washing Machines,    Freezers_,   Computers.

6. Double Insulation. If a machine has no metal__ parts on its case then we can't get a shock____ from it even if things go wrong. We call it "double____ insulated", and don't need an earth____ wire in the flex. Examples: hair_dryers,  TeleVisions.